{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":33,"n_cols":10,"rows_kept":33,"cut":false,"hidden":false,"merged":[[32,0,32,3],[1,0,2,0],[3,0,12,0],[13,0,31,0],[9,1,11,1],[22,1,24,1],[3,1,7,1],[13,1,20,1]]}
["一级功能","二级功能","三级功能","报价","备注"]
["地下综合供排水管网应用规划","综合查询"]
[null,"辅助设计",{"$nulls":7}," "]
["地下综合供排水管网可视化管理","三维浏览","三维交互浏览"]
[null,null,"地下模式浏览"]
[null,null,"供排水管网内部漫游浏览"]
[null,null,"地表透明浏览"]
[null,null,"开挖浏览"]
[null,"供排水管网信息查询定位"]
[null,"供排水管网数据管理","图层控制"]
[null,null,"管网数据录入和加载"]
[null,null,"统计数据输出"]
[null,"创建三维标注"]
["地下综合供排水管网行业应用","供排水管网专业分析","空间量测"]
[null,null,"开挖分析"]
[null,null,"净距分析"]
[null,null,"碰撞分析"]
[null,null,"覆土分析"]
[null,null,"连通分析"]
[null,null,"追踪分析"]
[null,null,"爆管分析"]
[null,"二三维联动"]
[null,"供排水管网监控","供排水管网状况监控"]
[null,null,"管网监测"]
[null,null,"供排水管网智能巡检"]
[null,"输出功能"]
[null,"应急决策支持"]
[null,"大屏可视化"]
[null,"统一数据接口"]
[null,"关键设备故障诊断技术"]
[null,"智能运维技术"]
[null,"统一信息建模"]
["合计"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}