{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":28,"n_cols":5,"rows_kept":28,"cut":false,"hidden":false,"merged":[[1,0,29,0],[1,1,7,1],[8,1,14,1],[15,1,20,1],[21,1,26,1],[27,1,29,1]]}
[null,"功能模块","功能点","数据类","数据项"]
["拉萨智慧水务（管网）软件平台","地理信息数据系统",null,"GIS超图"]
[null,null,null,"GIS底图","平面图、卫星图"]
[]
[]
[]
[]
[]
[null,"信息查询系统","属性查询","管线基础信息","起点埋深、终点埋深、管线性质、管径、材质、所在道路、建设时间、权属单位"]
[null,null,"位置查询","管线地理信息"]
[null,null,"动态信息查询","管线监控信息","燃气：压力、温度、流量、可燃气体浓度；供水：压力、流量；电力：接地电流、电缆温度、电缆电压；通信：压力、流量、流向、电池电压"]
[]
[]
[]
[]
[null,"统计分析系统"]
[]
[]
[]
[]
[]
[null,"预警联动管理系统"]
[]
[]
[]
[]
[]
[null,"BIM三维显示系统"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}