{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":8,"rows_kept":22,"cut":false,"hidden":false,"merged":[[2,3,3,3],[2,4,3,4],[4,2,5,2],[20,2,21,2],[1,0,21,0],[1,1,6,1],[7,1,10,1],[11,1,15,1],[16,1,18,1],[19,1,21,1]]}
[null,"功能模块","功能点","数据类","数据项"]
["拉萨智慧水务（管网）软件平台","地理信息数据系统","gis地图","GIS超图、GIS底图","平面图、卫星图"]
[null,null,"管线分层浏览","管线地理信息数据","各类管线及附属设备的地理坐标包括经纬度等"]
[null,null,"管线分布浏览"]
[null,null,"管线信息查询","管线基础数据","包括管线的属性、资产信息等"]
[null,null,null,"管线监控数据","各类管线的实时监控信息、告警信息"]
[]
[null,"信息查询系统","属性查询","管线基础信息","起点埋深、终点埋深、管线性质、管径、材质、所在道路、建设时间、权属单位",null,null,"是否需要做管线信息的管理"]
[null,null,"位置查询","管线地理信息",null,null,null,"数据来源"]
[null,null,"动态信息查询","管线监控信息","燃气：压力、温度、流量、可燃气体浓度；供水：压力、流量；电力：电流、电缆温度、电缆电压；通信：压力、流量、流向、电池电压",null,null,"是否纯大屏展示"]
[{"$nulls":7},"统计分析考虑历史数据接入"]
[null,"统计分析系统","管线长度统计","管线基础数据","包括管线的属性、资产信息等"]
[null,null,"管线故障统计","管线故障数据","各类管线故障发生次数、故障类型等"]
[null,null,"管线增长规模统计","管线基础数据","包括管线的属性、资产信息等"]
[null,null,"故障处理效率","管线故障数据","各类管线故障发生时间、恢复时间、故障类型等"]
[null,null,"管线负荷统计","管线监控数据","各类管线的实时监控信息、告警信息"]
[null,"预警联动管理系统","管线预警","管线运行数据","管线实时运行数据"]
[null,null,"管线告警","管线故障数据","各类管线故障发生次数、故障类型等"]
[null,null,"预警阈值管理"]
[null,"BIM三维显示系统","三维漫游","管线地理信息数据","各类管线及附属设备的地理坐标包括经纬度等"]
[null,null,"管线信息查询","管线基础数据","包括管线的属性、资产信息等"]
[null,null,null,"管线监控数据","各类管线的实时监控信息、告警信息"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}